OHIO CORROSION COMMITTEE CASES

## Updated 11-18-2021

## New Cases – 2021

OCC Case 2021-01

Name: Tyler Gilbert

Email: kgilbert@nisource.com

Company: Columbia Gas

Phone: 740-541-5773

Rectifier Address: 121 Private Dr 8380

Rectifier City: Chesapeake

Rectifier County: Lawrence

GPS Coordinates North: ~ 38.42486

GPS Coordinates West: ~ -82.49052

Ground Bed Type: Local

Rated Volts:

Rated Amps:

Present Volts:

Present Amps:

Proposed Test Date:

Companies Involved: Marathon

Comments:

OCC Case 2021-02

Name: Duane Huffman

Email: duane_huffman@tcenergy.com

Company: TCEnergy/Columbia Gas Trans.

Phone: 330-309-1920

Rectifier Address: Overture Rd

Rectifier City: Bergholz

Rectifier County: Fox Twp. Carroll County

GPS Coordinates North: 40.57834

GPS Coordinates West: -80.91870

Ground Bed Type: Local

Rated Volts: 40

Rated Amps: 22

Present Volts: 6

Present Amps: 2

Proposed Test Date:

Companies Involved: Dominion Transmission, Williams, BHE

Comments:

OCC Case 2021-03

Name: Keith Mckenzie

Email: kmckenzie@theenergycoop.com

Company: National Gas and Oil Cooperative

Phone: 740-877-5125

Rectifier Address: 11490 Scout Road

Rectifier City: Frazeysburg

Rectifier County: Muskingum

GPS Coordinates North: 40.1325

GPS Coordinates West: -82.1116

Ground Bed Type: Local

Rated Volts: 20

Rated Amps: 10

Present Volts: 4.9

Present Amps: 1.2

Proposed Test Date: TBD

Companies Involved: Enterprise

Comments: 8" coated steel running from Black Run to Coshocton county road 439

OCC Case 2021-04

Name: Keith Mckenzie

Email: kmckenzie@theenergycoop.com

Company: NGO Transmission

Phone: 740-877-5125

Rectifier Address: 1300 ' east of Twp 37

Rectifier City: Thorn Township

Rectifier County: Perry

GPS Coordinates North: 39.843975

GPS Coordinates West: -82.371218

Ground Bed Type: Local

Rated Volts: 80

Rated Amps: 50

Present Volts: 20.8

Present Amps: 16.0

Proposed Test Date: TBD

Companies Involved: Unknown

Comments: Shriner Rectifier Legacy groundbed replacement. Near St. Rt.13 and Twp. Rd 37

OCC Case 2021-05

Name: Keith Mckenzie

Email: kmckenzie@theenergycoop.com

Company: NGO Transmission

Phone: 740-877-5125

Rectifier Address: 1717 Evergreen Ct.

Rectifier City: Heath

Rectifier County: Licking

GPS Coordinates North: 40.0298

GPS Coordinates West: -82.3829

Ground Bed Type: Local

Rated Volts: 40

Rated Amps: 30

Present Volts: 16.6

Present Amps: 9.8

Proposed Test Date: TBD

Companies Involved: Unknown, BHE

Comments: protects 8' Bare Steel from Linnville Pike to Spring Street in Newark.

OCC Case 2021-06

Name: Bob Sperling

Email: bob_sperling@ohiogas.com

Company: Ohio Gas Company

Phone: 419-553-0811

Rectifier Address: 3305 Herr Rd

Rectifier City: Sylvania

Rectifier County: Lucas

GPS Coordinates North: 41.677110

GPS Coordinates West: -83.756572

Ground Bed Type: Local

Rated Volts: 30

Rated Amps: 16

Present Volts: TBD

Present Amps: TBD

Proposed Test Date:

Companies Involved: COH, Dome

Comments: Replacement rectifier and groundbed, expected to have similar output

OCC Case 2021-07

Name: Bob Sperling

Email: bob_sperling@ohiogas.com

Company: Ohio Gas Company

Phone: 419-553-0811

Rectifier Address: 13000 SR 15

Rectifier City: Holiday City

Rectifier County: Williams

GPS Coordinates North: 41.60100

GPS Coordinates West: -84.55535

Ground Bed Type: Local

Rated Volts: 30

Rated Amps: 16

Present Volts: TBD

Present Amps: TBD

Proposed Test Date:

Companies Involved: Buckeye, Dome

Comments: Replacement rectifier and groundbed, expected to have similar output

OCC Case 2021-08

Name: Bob Sperling

Email: bob_sperling@ohiogas.com

Company: Ohio Gas Company

Phone: 419-553-0811

Rectifier Address: 9005 Blosser Rd

Rectifier City: Hicksville

Rectifier County: Defiance

GPS Coordinates North: 41.354368

GPS Coordinates West: -84.649764

Ground Bed Type: Local

Rated Volts: 30

Rated Amps: 16

Present Volts: TBD

Present Amps: TBD

Proposed Test Date:

Companies Involved: Crossroads

Comments: Replacement groundbed, output expected to be similar

OCC Case 2021-09

Name: Bob Sperling

Email: bob_sperling@ohiogas.com

Company: Ohio Gas Company

Phone: 419-553-0811

Rectifier Address: 6131 CR 13

Rectifier City: Wauseon

Rectifier County: Fulton

GPS Coordinates North: 41.560881

GPS Coordinates West: -84.115029

Ground Bed Type: Local

Rated Volts: 30

Rated Amps: 16

Present Volts: TBD

Present Amps: TBD

Proposed Test Date:

Companies Involved: PEPL, ANR, DEOG-D (West)

Comments: Replacement rectifier and groundbed 400 feet north of old unit at 6012 CR 13, expected to have similar output

OCC Case 2021-10

Name: Jeff Brown

Email: jbrown@buckeye.com

Company: Buckeye Partners

Phone: 419-234-6095

Rectifier Address: 3250 S. Dixie

Rectifier City: Lima

Rectifier County: Allen

GPS Coordinates North: 40.69662

GPS Coordinates West: -84.12692

Ground Bed Type: Distributed

Present Volts: 11.0

Present Amps: 30

Proposed Test Date: on remote interrupt - call

Companies Involved: MAR*, TETLP, SUN, MidValley, DOM

Comments: Replaced perimeter anodes around Lima tanks 401 and 403

OCC Case 2021-11

Name: Jeff Brown

Email: jbrown@buckeye.com

Company: Buckeye Partners

Phone: 419-234-6095

Rectifier Address: near Tiffin & Millard

Rectifier City: Oregon

Rectifier County: Lucas

GPS Coordinates North: 41.67630

GPS Coordinates West: -83.47177

Ground Bed Type: Deep Well

Rated Volts:

Rated Amps:

Present Volts: 19.8

Present Amps: 15.74

Proposed Test Date: on remote interrupt - call

Companies Involved: SUN, Mid Valley, COH, BP

Comments: Replaced deepwell anode system 100ft x 12" x 10 MMO anodes, same output as old well

OCC Case 2021-12

Name: Justin Lamberth

Email: Justin.Lamberth@bhegts.com

Company: BHE GT&S (formerly DTI)

Phone: 919-602-6969

Rectifier Address: 9595 McGlade School Rd

Rectifier City: Dresden

Rectifier County: Muskingum

GPS Coordinates North: 40.09446

GPS Coordinates West: -82.02645

Ground Bed Type: Local

Present Volts: 6.5

Present Amps: 3.8

Companies Involved: AEP

Comments: Rectifier installed at M&R - inside of AEP's power plant. Approx 300ft of SPL linear anode installed parallel along M&R piping, which is FBE coated. I expect to turn the tap settings down some after polarization.

## 2020 Cases

OCC Case 2020-01

Name: Talen Smith

Email: Talen.Smith@energytransfer.com

Company: Energy Transfer

Phone: 210-439-1194

Rectifier Address: Bloomingdale

Rectifier City: Bloomingdale

Rectifier County: Jefferson

GPS Coordinates North: 40.325833

GPS Coordinates West: -80.771881

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: TBD

Companies Involved: MarkWest

Comments:

OCC Case 2020-02

Name: Daniel Ashley

Email: daniel.ashley@energytransfer.com

Company: Energy Transfer/Sunoco

Phone: 313-600-5900

Rectifier Address: 2675 N. Summit St.

Rectifier City: Toledo

Rectifier County: Lucas

GPS Coordinates North: 41.676271

GPS Coordinates West: -83.499865

Ground Bed Type: Deep Well

Rated Volts: 30

Rated Amps: 30

Present Volts: 21

Present Amps: 9

Proposed Test Date: will call

Companies Involved: COH, TCO, Buckeye pipeline, Enbridge

Comments: Rectifier on a RMU and can be cycled anytime for testing, Contact Dan at (313)600-5900

OCC Case 2020-03

Name: Brad Bell

Email: BTBELL@MARATHONPETROLEUM.COM

Company: Marathon Pipeline

Phone: 419-889-1697

Rectifier Address: Off County Rd. 1075

Rectifier City: E. of Lucas, OH

Rectifier County: Richland

GPS Coordinates North: 40.69516982

GPS Coordinates West: -82.34428482

Ground Bed Type: Deep Well

Rated Volts: 75

Rated Amps: 50

Present Volts: 4.0

Present Amps: 4.7

Proposed Test Date:

Companies Involved: TC Energy

Comments:

OCC Case 2020-04

Name: Brad Bell

Email: BTBELL@MARATHONPETROLEUM.COM

Company: Marathon Pipeline

Phone: 419-889-1697

Rectifier Address: Powell Rd.

Rectifier City: East of Harpster Ohio

Rectifier County: Marion

GPS Coordinates North: 40.68821987

GPS Coordinates West: -83.11218572

Ground Bed Type: Deep Well

Rated Volts: 75

Rated Amps: 50

Present Volts: 4.8

Present Amps: 1.0

Proposed Test Date:

Companies Involved: TC Energy

Comments:

OCC Case 2020-05

Name: Brad Bell

Email: BTBELL@MARATHONPETROLEUM.COM

Company: Marathon Pipeline

Phone: 419-889-1697

Rectifier Address: West of Edwards Farms Rd

Rectifier City: Columbus

Rectifier County: Delaware

GPS Coordinates North: 40.06649399

GPS Coordinates West: -83.1320133

Ground Bed Type: Deep Well

Rated Volts: 50

Rated Amps: 50

Present Volts: 12.7

Present Amps: 5.9

Proposed Test Date:

Companies Involved: COH

Comments: This is a rectifier only replacement

OCC Case 2020-06

Name: Brad Bell

Email: BTBELL@MARATHONPETROLEUM.COM

Company: Marathon Pipeline

Phone: 419-889-1697

Rectifier Address: 575 Buckeye Rd.

Rectifier City: Lima

Rectifier County: Allen

GPS Coordinates North: 40.703663

GPS Coordinates West: -84.111997

Ground Bed Type: Distributed

Present Volts: 9.68

Present Amps: 25.08

Proposed Test Date:

Companies Involved: DEOG-D, SUN, Mid Valley, COH, BP, Buckeye

Comments: Replacement groundbed

OCC Case 2020-07

Name: David Knapp

Email: david_knapp@tcenergy.com

Company: TC Energy

Phone: 419-908-3400

Rectifier Address: Barron Rd

Rectifier City: Perrysville

Rectifier County: Richland

GPS Coordinates North: 40.62393

GPS Coordinates West: -82.36710

Ground Bed Type: Local

Rated Volts: 60

Rated Amps: 60

Present Volts:

Present Amps: 4

Proposed Test Date:

Companies Involved: COH

Comments:

## 2019 Cases

OCC Case 2019-01   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 25239-25891 Highway 172

Rectifier City: Minerva

Rectifier County: Columbiana

GPS Coordinates North: 40.78960663

GPS Coordinates West: -81.01641177

Ground Bed Type: Distributed

Rated Volts: 40

Rated Amps: 60

Present Volts:

Present Amps:

Proposed Test Date: May 2019

Companies Involved: American, Atlus, Unknown, DEOG-D, DEOG-T, TCOx

Comments: CP Anode Bed 1

OCC Case 2019-03   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 2315 Midway St NW

Rectifier City: Uniontown, OH 44685

Rectifier County: Stark

GPS Coordinates North: 40.93511231

GPS Coordinates West: -81.38580048

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 2.436

Present Amps: 0.91

Proposed Test Date: May 2019

Companies Involved: Enervest, DEOG-D, DEOG-T

Comments: CP Anode Bed 3

OCC Case 2019-04   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 5146 S Arlington Rd

Rectifier City: Akron, OH 44319

Rectifier County: Summit

GPS Coordinates North: 40.92987177

GPS Coordinates West: -81.49618998

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts:

Present Amps:

Proposed Test Date: May 2019

Companies Involved: DEOG-D, DEOG-T

Comments: CP Anode Bed 4A

OCC Case 2019-05   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 14698 Clinton Rd

Rectifier City: Doylestown, OH 44230

Rectifier County: Wayne

GPS Coordinates North: 40.98077072

GPS Coordinates West: -81.70593719

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts:

Present Amps:

Proposed Test Date: May 2019

Companies Involved: Unknown, DEOG-D, DEOG-T

Comments: CP Anode Bed 4B

OCC Case 2019-06   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 2000 Eastern Rd

Rectifier City: Rittman, OH 44270

Rectifier County: Wayne

GPS Coordinates North: 40.98808728

GPS Coordinates West: -81.76439806

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.75

Present Amps: 0.97

Proposed Test Date: May 2019

Companies Involved: DEOG-D, DEOG-T, COH*, C&C Production, Northeast Ohio

Comments: CP Anode Bed 5

OCC Case 2019-07   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 6399 Lake Rd

Rectifier City: Medina, OH 44256

Rectifier County: Medina

GPS Coordinates North: 41.09972641

GPS Coordinates West: -81.89815987

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.91

Present Amps: 0.69

Proposed Test Date: May 2019

Companies Involved: COH*, DEOG-D, DEOG-T, Consumers Gas, Medina Fuel, Unknown, Aspire Energy, Transcanada

Comments: CP Anode Bed 6

OCC Case 2019-08   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 16003 County Hwy 49

Rectifier City: Grafton, OH 44044

Rectifier County: Lorain

GPS Coordinates North: 41.25385887

GPS Coordinates West: -82.06138688

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.665

Present Amps: 1.17

Proposed Test Date: May 2019

Companies Involved: COH*, DEOG-D, DEOG-T, TC Energy, Unknown

Comments: CP Anode Bed 7

OCC Case 2019-09   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 14700 Township Hwy 47

Rectifier City: Oberlin, OH 44074

Rectifier County: Lorain

GPS Coordinates North: 41.27091151

GPS Coordinates West: -82.31657070

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.892

Present Amps: 0.54

Proposed Test Date: May 2019

Companies Involved: Buckeye, Northcoast Gas, Unknown, COH*, DEOG-D*, DEOG-T, TC Energy

Comments: CP Anode Bed 8

OCC Case 2019-10   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: Jeffries Rd

Rectifier City: Huron, OH 44839

Rectifier County: Erie

GPS Coordinates North: 41.33783672

GPS Coordinates West: -82.53625452

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.945

Present Amps: 0.54

Proposed Test Date: May 2019

Companies Involved: COH*, DEOG-T, Transcanada, Unknown

Comments: CP Anode Bed 9

OCC Case 2019-12   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 3519 Shannon Rd

Rectifier City: Fremont, OH 43420

Rectifier County: Sandusky

GPS Coordinates North: 41.39795089

GPS Coordinates West: -83.08720449

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.81

Present Amps: 0.58

Proposed Test Date: May 2019

Companies Involved: Unknown, COH*, TCO, DEOG-D*, DEOG-T*

Comments: CP Anode Bed 11

OCC Case 2019-13   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 2799 Co Rd 93

Rectifier City: Gibsonburg, OH 43431

Rectifier County: Sandusky

GPS Coordinates North: 41.41878400

GPS Coordinates West: -83.33464300

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.99

Present Amps: 0.65

Proposed Test Date: May 2019

Companies Involved: COH*, TCO, DEOG-D, DEOG-T, TC Energy

Comments: CP Anode Bed 12

OCC Case 2019-14   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 21717 Township Hwy 92

Rectifier City: Perrysburg, OH 43551

Rectifier County: Wood

GPS Coordinates North: 41.47485088

GPS Coordinates West: -83.60980003

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts:

Present Amps:

Proposed Test Date: May 2019

Companies Involved: Kinder Morgan, DEOG-D*, DEOG-T*, Waterville Gas Company, COH*, TCO, Ohio Gas Company*, Buckeye

Comments: CP Anode Bed 13

OCC Case 2019-15   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 2496 Co Rd B

Rectifier City: Swanton, OH 43558

Rectifier County: Fulton

GPS Coordinates North: 41.50191244

GPS Coordinates West: -83.91055606

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 2.137

Present Amps: 0.36

Proposed Test Date: May 2019

Companies Involved: Ohio Gas Company, Transcanada* (ANR*), Norco, TCO*

Comments: CP Anode Bed 14

OCC Case 2019-16   2 year review per bylaws

Name: Adam Tate Ryan Wynn

Email: Adam.Tate@enbridge.com   Ryan.Wynn@enbridge.com (unverified)

Company: Enbridge (Nexus)

Phone: 740-516-3094 234-788-4121

Rectifier Address: 1515 Hwy 20

Rectifier City: Swanton, OH 43558

Rectifier County: Fulton

GPS Coordinates North: 41.67205659

GPS Coordinates West: -83.89181787

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 1.89

Present Amps: 0.68

Proposed Test Date: May 2019

Companies Involved: Ohio Gas Company, Buckeye, PEPL, Utopia

Comments: CP Anode Bed 15

OCC Case 2019-20   2 year review per bylaws

Name: Todd Koelsch Dan Jacobs

Email: todd_koelsch@transcanada.com  dan_jacobs@tcenergy.com

Company: TransCanada (TCO)

Phone: 419-788-4681  419-721-0652

Rectifier Address: County Road 308 N

Rectifier City: Bellevue

Rectifier County: Seneca

GPS Coordinates North: 41.282439

GPS Coordinates West: -82.859510

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 60

Present Volts: 6

Present Amps: 5

Proposed Test Date: Anytime

Companies Involved: Buckeye, COH, DEOG-T*

Comments: West side of Cty Rd 308. North of town (Bellevue)

OCC Case 2019-21   2 year review per bylaws

Name: Todd Koelsch Dan Jacobs

Email: todd_koelsch@transcanada.com  dan_jacobs@tcenergy.com

Company: TransCanada (TCO)

Phone: 419-788-4681  419-721-0652

Rectifier Address: County Road 308 N

Rectifier City: Bellevue

Rectifier County: Seneca

GPS Coordinates North: 41.284576

GPS Coordinates West: -82.856407

Ground Bed Type: Local

Rated Volts: 60

Rated Amps: 60

Present Volts: 6

Present Amps: 5

Proposed Test Date: Anytime

Companies Involved: Buckeye, COH, DEOG-T*

Comments: East side of Cty Rd 308. North of town (Bellevue)

OCC Case 2019-23   2 year review per bylaws

Name: JT Campbell

Email: jcampbell@theenergycoop.com

Company: NGO Transmission

Phone: 7404031276

Rectifier Address: High Point Rd

Rectifier City: Thornville

Rectifier County: Perry

GPS Coordinates North: 39.855609

GPS Coordinates West: -82.391231

Ground Bed Type: Distributed

Rated Volts: 20

Rated Amps: 20

Present Volts: 18.8

Present Amps: 9.3

Proposed Test Date:

Companies Involved: Unknown

Comments: Forsythe Rectifier

OCC Case 2019-26   2 year review per bylaws

Name: Justin Lawson

Email: justin.lawson@enbridge.com

Company: Enbridge (Nexus?)

Phone: 615-425-1706

Rectifier Address: Guiford Road

Rectifier City: Blake

Rectifier County: Blake

GPS Coordinates North: 41.0359

GPS Coordinates West: -81.82657

Ground Bed Type: Other - Explain in Remarks

Rated Volts:

Rated Amps:

Present Volts: 2.2679

Present Amps: 3.3589

Proposed Test Date:

Companies Involved: DEOG-D*, DEOG-T*, Rover, TC Energy, Nexus?

Comments: New Line / New Groundbed

OCC Case 2019-28   2 year review per bylaws

Name: Justin Lawson

Email: justin.lawson@enbridge.com

Company: Enbridge (Nexus?)

Phone: 615-425-1706

Rectifier Address: Hanover Station

Rectifier City: Kensington

Rectifier County: Hanoverton

GPS Coordinates North: 40.73761

GPS Coordinates West: -80.94253

Ground Bed Type: Distributed

Rated Volts:

Rated Amps:

Present Volts: 2.7405

Present Amps: 7.4277

Proposed Test Date:

Companies Involved: DEOG-D, DEOG-T, TCO, Blue Racer

Comments: New Line / New Groundbed

OCC Case 2019-29   2 year review per bylaws

Name: Justin Lawson

Email: justin.lawson@enbridge.com

Company: Enbridge (Nexus?)

Phone: 615-425-1706

Rectifier Address: 9579 Columbus Rd NE

Rectifier City: Alliance

Rectifier County: Alliance (Stark)

GPS Coordinates North: 40.90526

GPS Coordinates West: -81.21607

Ground Bed Type: Distributed

Rated Volts: 60

Rated Amps: 40

Present Volts: 2.0250

Present Amps: 0.4212

Proposed Test Date: May 2019

Companies Involved: Unknown, Enervest, DEOG-D, DEOG-T

Comments: New Line / New Groundbed

## 2018 Cases

OCC Case 2018-01   2 year review per bylaws

Name: Ethan Kaufman

Email: ekaufman@eqt.com

Company: EQT Midstream

Phone: 412-304-7045

Rectifier Address: 47830 OH-556

Rectifier City: Beallsville

Rectifier County: Monroe

GPS Coordinates North: 39.837889

GPS Coordinates West: -80.943083

Ground Bed Type: Deep Well

Rated Volts: 65

Rated Amps: 35

Proposed Test Date:

Companies Involved: Trans Canada*, TETCO, Energy Transfer (Rover), Blue Racer Midstream, DEOT

Comments: Will be commissioned mid 2018

OCC Case 2018-02   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Sardis

Rectifier County: Monroe

GPS Coordinates North: 39.629555

GPS Coordinates West: -80.935228

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Antero, Markwest, Enbridge, Eureka Hunter, DEOG-T*, DEOG-D*, DTI*, TCO, Crestwood, Momentum, EQT

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-03   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Beallsville

Rectifier County: Monroe

GPS Coordinates North: 39.821008

GPS Coordinates West: -81.039933

Ground Bed Type: Local

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Antero, Markwest, Eureka Hunter, DEOG-T*, DEOG-D*, DTI*, TCO, Crestwood, Momentum, EQT, Enbridge, Williams

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-04   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Summerfield

Rectifier County: Noble

GPS Coordinates North: 39.807950

GPS Coordinates West: -81.341308

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-T*, DEOG-D*, DTI*, TCO, EQT, Enbridge, Williams, Tallgrass

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-05   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Clarington

Rectifier County: Monroe

GPS Coordinates North: 39.841247

GPS Coordinates West: -80.884396

Ground Bed Type: Local

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T, DTI*, TCO*, EQT, Enbridge, Williams, Tallgrass, Rice, Eureka Hunter, Summit Midstream

OCC Case 2018-06   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: St. Clairsville

Rectifier County: Belmont

GPS Coordinates North: 39.979376

GPS Coordinates West: -80.933069

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T, DTI*, TCO, EQT, Enbridge, Williams, Tallgrass, Rice, Eureka Hunter, Summit Midstream

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-07   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Cadiz

Rectifier County: Harrison

GPS Coordinates North: 40.253570

GPS Coordinates West: -81.026456

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-T, DEOG-D*, DTI*, COH*, TCO, EQT, Enbridge, Williams, Tallgrass, Rice, Eureka Hunter, Summit Midstream, added Kinder Morgan-Utopia 4/16/2019

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-08   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Cadiz

Rectifier County: Harrison

GPS Coordinates North: 40.243717

GPS Coordinates West: -81.072499

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T, DTI*, TCO*, COH*, EQT, Enbridge, Williams, Tallgrass, Rice, Eureka Hunter, Summit Midstream, Kinder Morgan-Utopia

OCC Case 2018-09   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Dennison

Rectifier County: Harrison

GPS Coordinates North: 40.308685

GPS Coordinates West: -81.099289

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T, DTI, TCO*, EQT, Enbridge, Williams, Tallgrass, Rice Energy, Eureka Hunter, Summit Midstream, Kinder Morgan

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-10   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Dennison

Rectifier County: Carroll

GPS Coordinates North: 40.450496

GPS Coordinates West: -81.232503

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T, DTI, TCO*, EQT, Enbridge, Williams, Tallgrass, Rice Energy, Eureka Hunter, Summit Midstream, Kinder Morgan, Marathon*

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-11   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Leesville New Cumberland

Rectifier County: Jefferson

GPS Coordinates North: 40.482817

GPS Coordinates West: -80.636432

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T*, DTI*, TCO, EQT, Enbridge, Williams, Tallgrass, Rice Energy, Eureka Hunter, Summit Midstream, Kinder Morgan  Note: emailed to verify location 3/23/2019.

OCC Case 2018-13   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Zoar Amsterdam

Rectifier County: Jefferson

GPS Coordinates North: 40.440057

GPS Coordinates West: -80.930402

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T*, DTI, TCO, EQT, Enbridge, Williams, Tallgrass, Rice Energy, Eureka Hunter, Summit Midstream, Kinder Morgan

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-14   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Zoar Mineral City

Rectifier County: Tuscarawas

GPS Coordinates North: 40.594403

GPS Coordinates West: -81.342711

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T, DTI*, TCO*, EQT, Enbridge, Williams, Tallgrass, Rice Energy, Eureka Hunter, Summit Midstream, Kinder Morgan, Marathon*

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-15   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Brewster

Rectifier County: Stark

GPS Coordinates North: 40.692836

GPS Coordinates West: -81.622912

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Blue Racer, Antero, Markwest, DEOG-D*, DEOG-T*, DTI*, TCO, EQT, Enbridge, Williams, Tallgrass, Rice Energy, Eureka Hunter, Summit Midstream, Kinder Morgan, Marathon*

OCC Case 2018-16   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Wooster

Rectifier County: Wayne

GPS Coordinates North: 40.747275

GPS Coordinates West: -81.963192

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DEOG-D*, DEOG-T*, DTI*, TCO*, North Coast, Sunoco, Buckeye, Crossroads*, KNG*, Ohio Gas Company*

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-17   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Wooster

Rectifier County: Wayne

GPS Coordinates North: 40.788033

GPS Coordinates West: -82.093443

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DEOG-D*, DEOG-T*, DTI*, TCO, North Coast, Sunoco, Buckeye, Crossroads*, KNG*, Ohio Gas Company*

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-18   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Mansfield

Rectifier County: Richland

GPS Coordinates North: 40.846081

GPS Coordinates West: -82.513797

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DTI*, TCO, COH*, North Coast, Sunoco, Buckeye, DEOG-D*, DEOG-T*, Crossroads*, KNG*, Ohio Gas Company*

OCC Case 2018-19   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: New Washington

Rectifier County: Crawford

GPS Coordinates North: 40.909362

GPS Coordinates West: -82.812295

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, , DTI*, TCO*, COH*, North Coast, Sunoco, Buckeye, DEOG-D*, DEOG-T*, Crossroads*, KNG*, Ohio Gas Company*

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-20   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Bloomville

Rectifier County: Crawford

GPS Coordinates North: 40.976259

GPS Coordinates West: -82.970827

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DTI*, TCO*, North Coast, Sunoco, Buckeye, DEOG-D*, DEOG-T*, Crossroads*, KNG*, Ohio Gas Company*

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-21   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: New Riegel Tiffin

Rectifier County: Seneca

GPS Coordinates North: 41.079608

GPS Coordinates West: -83.244467

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DTI*, TCO, North Coast, Sunoco, Buckeye*, DEOG-D*, DEOG-T*, Crossroads*, KNG*, Ohio Gas Company*

OCC Case 2018-22   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Fostoria

Rectifier County: Hancock

GPS Coordinates North: 41.136926

GPS Coordinates West: -83.478709

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DTI*, TCO, North Coast, Sunoco, Buckeye, DEOG-D*, DEOG-T*, Crossroads*, KNG*, Ohio Gas Company*

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-23   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Cygnet

Rectifier County: Wood

GPS Coordinates North: 41.241673

GPS Coordinates West: -83.727519

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DTI*, TCO, North Coast, Sunoco, Mid-Valley, Crossroads, Buckeye, DEOG-D*, DEOG-T*, KNG*, Ohio Gas Company*, Suburban Natural Gas

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-24   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Malinta

Rectifier County: Henry

GPS Coordinates North: 41.287679

GPS Coordinates West: -84.017978

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, TCO*, North Coast, Sunoco, Crossroads, Buckeye, Ohio Gas Company*, DEOG-D*, DEOG-T*, KNG*

OCC Case 2018-25   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Defiance

Rectifier County: Defiance

GPS Coordinates North: 41.356433

GPS Coordinates West: -84.364559

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DTI*, North Coast, Sunoco, Crossroads*, Buckeye, OGC, TCO*, DEOG-D*, DEOG-T*, KNG*, added ANR* 3/23/2019

Comments: Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-26   2 year review per bylaws

Name: Brian J. Shafer Talen Smith

Email: brian.shafer@energytransfer.com  talen.smith@energytransfer.com

Company: Energy Transfer (Rover)

Phone: 740-260-6505 210-439-1194

Rectifier Address: Please see GPS

Rectifier City: Archbold

Rectifier County: Fulton

GPS Coordinates North: 41.572599

GPS Coordinates West: -84.254434

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: TBD

Present Amps: TBD

Proposed Test Date: 03/12/2018

Companies Involved: Kinder Morgan, Enervest, DTI*, North Coast, Sunoco, OGC*, Buckeye, TCO*, DEOG-D*, DEOG-T*, Crossroads*, KNG*, added ANR* 3/23/2019

Comments: Plans to energize Rover CP on 03/12/2018. Current output to be determined. Please note companies listed above may not be the only operators involved.

OCC Case 2018-27   2 year review per bylaws

Name: Bob Sperling

Email: bob_sperling@ohiogas.com

Company: Ohio Gas Company

Phone: 419-630-2241

Rectifier Address: 3226 Lathrop Road

Rectifier City: Berkey

Rectifier County: Lucas

GPS Coordinates North: 41.674033

GPS Coordinates West: 083.857117

Ground Bed Type: Local

Rated Volts: 30

Rated Amps: 16

Proposed Test Date: As needed

Companies Involved: PEPL, ANR*, Dome (Plains) Kinder Morgan, Nexus, added Buckeye 3/23/2019

Comments: Should be energized by end of 2018. This case was formerly 2014-16.

OCC Case 2018-29   2 year review per bylaws

Name: Quentin Marshall

Email: quentin_marshall@kindermorgan.com

Company: Kinder Morgan (Utopia)

Phone: 563-357-3968

Rectifier Address: 9207-9241 Autumn Rd SW

Rectifier City: Bowerston

Rectifier County: Carrol

GPS Coordinates North: 40.43628330

GPS Coordinates West: -81.186994444

Ground Bed Type: Distributed

Rated Volts: 40

Rated Amps: 10

Present Volts: 7

Present Amps: 2

Proposed Test Date:

Companies Involved: DEOG-T*, DEOG-D*, TCO*, Mark West, added DTI 4-16-2019 (now BHE-EGT&S?)

Comments: Rectifier is on still need to adjust. Not sure of other companies affected.

OCC Case 2018-30   2 year review per bylaws

Name: Quentin Marshall

Email: quentin_marshall@kindermorgan.com

Company: Kinder Morgan (Utopia)

Phone: 563-357-3968

Rectifier Address: 9001 Blough Ave SW

Rectifier City: Navarre

Rectifier County: Stark

GPS Coordinates North: 40.6652528

GPS Coordinates West: -81.511594444

Ground Bed Type: Local

Rated Volts: 40

Rated Amps: 10

Present Volts: 7

Present Amps: 2

Proposed Test Date:

Companies Involved: DEOG-T*, DEOG-D*, TCO, Mark West

Comments: Rectifier is on, still need to adjust. Not sure of other companies affected.

OCC Case 2018-35   2 year review per bylaws

Name: Jeff Brown

Email: JBROWN@BUCKEYE.COM

Company: Buckeye Partners

Phone: 419-234-6095

Rectifier Address: N/O Old Millard

Rectifier City: Toledo

Rectifier County: Lucas

GPS Coordinates North: 41.67422

GPS Coordinates West: -83.46976

Ground Bed Type: Deep Well

Rated Volts: 60

Rated Amps: 40

Present Volts: 8.54

Present Amps: 5.28

Proposed Test Date: Will call, remote interrupter

Companies Involved: SUN, MID VALLEY, COH, BP

Comments: This was a BP groundbed repurposed to Buckeye, protecting 8 lines in the Duck Creek area.

OCC Case 2018-36   2 year review per bylaws

Name: Jeff Brown

Email: JBROWN@BUCKEYE.COM

Company: Buckeye Partners

Phone: 419-234-6095

Rectifier Address: N/O Tiffin University

Rectifier City: Tiffin

Rectifier County: Seneca

GPS Coordinates North: 41.121

GPS Coordinates West: -83.18982

Ground Bed Type: Local

Present Volts: 6.6

Present Amps: 9.96

Proposed Test Date: Will call, remote interrupter

Companies Involved: BP, COH, SUN added 3/23/2019

Comments: This is a replacement groundbed – like size and kind.

## 2017 Cases

OCC Case 2017-18   2 year review per bylaws – Currently held open for Buckeye

Name: Brad Leonard Vince Dalchuk

Email: bleonard@uti-corp.com vdalchuk@uti-corp.com

Company: UTI-Corp for Generation Pipeline

Phone: 614-230-1954 740-602-1180

Rectifier Address: 4700 Homer Ohio Lane  30200 East Broadway

Rectifier City: Groveport Walbridge

Rectifier County: Wood

GPS Coordinates North:  41Â°35'19.83"N  41.58884167

GPS Coordinates West:  83Â°30'45.16"W  -83.51250000

Ground Bed Type: Local

Rated Volts: 30

Rated Amps: 30

Present Volts: 2.3

Present Amps: 0.6

Proposed Test Date:

Companies Involved: AEP, COH*, DEOG-T*, DEOG-D*, DTC, NCGT, MAPL*, NORCO, TCO*, TETLP, TGP, VEDO, Buckeye,

PEPL, ANR*, Energy Transfer – Mid Valley

Comments: Rectifier for Generation Pipeline to be installed during the month of June/July

RECENTLY CLOSED CASES

No cases were closed at the abbreviated TriState meeting held on 10-6-2021 in conjunction with the NACE EAC

.

COMPANY INDEX

AEP				American Electric Power

ANR				TC Energy (Trans Canada)

ANTERO			Antero Midstream

BHE				Berkshire Hathaway Energy, was DTI – Dominion Transmission Interstate

BP				British Petroleum

BUC				Buckeye Partners

BRM				Blue Racer Midstream

CEI				Cleveland Electric and Illuminating Company

COH				Columbia Gas of Ohio

CMP				Crestwood Midstream Partners

CPC				Crossroads Pipeline Company

CPP				Cleveland Public Power

DEOG-T			Dominion East Ohio Gas – Transmission

DEOG-D			Dominion East Ohio Gas – Distribution

DOME				Dome Pipeline (Pembina?)

DUKE				Duke Energy

EHP				Eureka Hunter Pipeline

ENV				EnerVest

EPP				Enterprise Products Partners

EPS				Enbridge Pipeline System

EQT				EQT Midstream

ETP				Energy Transfer Partners

GEN				Generation Pipeline LLC

KMP				Kinder Morgan Pipeline (Pembina?)

KNG				KNG Energy (Kalida Natural Gas)

MID				Mid-Valley

MMP				Momentum Midstream Pipeline

MPL				Marathon Pipeline Company

MWE				Mark West Energy

NCGT				North Coast Gas Transmission

NEXUS				Nexus Pipeline (Enbridge)

NGO				National Gas & Oil (The Energy Cooperative)

NORCO				Some portions were formally known as ARCO and/or TransMontaigne

OGC				Ohio Gas Company

OOG				Ohio Oil Gathering

RENG				Rice Energy

REX				Rockies Express Pipeline (Kinder Morgan)

ROVER				Rover Pipeline (Energy Transfer)

SPECTRA			Spectra Energy (Texas Eastern?)

SMP				Summit Midstream Partners

SUN				Sunoco Logistics (Energy Transfer)

TCO				Columbia Gas Transmission

TEP				Tallgrass Energy Partners

TETLP			              Texas Eastern Product Pipeline Company - Enterprise

TGP				Tennessee Eastern Transmission LP

UTI				Utility Technologies International Corp

UTOPIA			Utopia Pipeline (Kinder Morgan)

VEDO				CenterPoint Energy (Vectren Energy Delivery of Ohio)

WIPL				Williams Pipeline